Exhibit L1b: Potable Water Additional Notes Greater Ouachita Water Company

Charleston Site
Note 1 - Planned work by GOWC (Greater Ouachita Water Company) includes construction of a 250,000 gallon elevated storage tank, a new well, and expansion of capacity to 1.30 MGD

Note 2 - Added flow for fire can be accomplished with additional lines

